## BOM
Bill of materials
Parts | Amount | Exemplary seller | Net costs (Euro)
Mechanics1)
Aluminum Profile 20x20L - 1N - I-Type Groove 5, 270 mm, machining both sides M5 (70502-Z) | 2 | www.dold-mechatronik.de | 7.5966
Aluminum Profile 20x20L - 1N - I-Type Groove 5, 215 mm, , machining both sides M5 (70502-Z) | 3 | www.dold-mechatronik.de | 10.437
Aluminum Profile 20x20L - 1N - I-Type Groove 5, 210 mm, , machining both sides M5 (70502-Z) | 2 | www.dold-mechatronik.de | 6.8908
Aluminum Profile 20x20L - 2N-90° - I-Type Groove 5, 270 mm, machining both sides M5 (70526-Z) | 2 | www.dold-mechatronik.de | 7.5966
Aluminum Profile 20x20L - 2N-90° - I-Type Groove 5, 215 mm, machining both sides M5 (70526-Z) | 2 | www.dold-mechatronik.de | 6.958
Aluminum Profile 20x20L - 2N-90° - I-Type Groove 5, 210 mm, machining both sides M5 (70526-Z) | 4 | www.dold-mechatronik.de | 13.7815
Aluminum Profile 20x20L I-Type Groove 5, 270 mm (62002-Z) | 1 | www.dold-mechatronik.de | 1.6134
Aluminum Profile 20x20L I-Type Groove 5, 210 mm (62002-Z) | 1 | www.dold-mechatronik.de | 1.3025
Corner angle 20 I-type groove 5 and cover square (61395-AE) | 8 | www.dold-mechatronik.de | 33.19
Angle 20 I-type groove 5 (F093W203N05S03) | 2 | www.dold-mechatronik.de | 1.4958
Bright steel, round 8mm, 290 mm (C45+SL-h6-D8-Z) | 2 | www.dold-mechatronik.de | 4.7395
Bright steel, round 8mm, 205 mm (C45+SL-h6-D8-Z) | 2 | www.dold-mechatronik.de | 3.5966
Bright steel round 6mm, 97 mm (C45+SL-h6-D6-Z) | 1 | www.dold-mechatronik.de | 1.0756
Bright steel round 6mm, 93 mm (C45+SL-h6-D6-Z) | 2 | www.dold-mechatronik.de | 2.084
drylin® R Slide bearings without housing RJ4JP-01-08 / d1 = 8 / d2 = 15 / B = 24 (RJ4JP-01-08) | 4 | www.dold-mechatronik.de | 11.7311
Bearings with flange (Form F) (GFM-0608-05) | 6 | www.dold-mechatronik.de | 18.3025
Deep groove ball bearings 623 ZZ 3x10x4mm (37000) | 4 | www.dold-mechatronik.de | 1.6807
DIN 912 screw with hexagon socket, stainless steel A2, M3X8 (VO) (DIN912-A2-M3X8-VO) | 100 | www.dold-mechatronik.de | 5.8824
DIN 912 screw with hexagon socket, stainless steel A2, M3X10 (VO) (DIN912-A2-M3X10-VO) | 100 | www.dold-mechatronik.de | 5.8824
DIN 912 screw with hexagon socket, stainless steel A2, M3x16 (VO) (DIN912-A2-M3X16-VO) | 20 | www.dold-mechatronik.de | 3.36
DIN 912 screw with hexagon socket, stainless steel A2, M3x20 (VO) (DIN912-A2-M3X20-VO) | 4 | www.dold-mechatronik.de | 1.08
DIN 912 screw with hexagon socket, stainless steel A2, M4X10 (VO) (DIN912-A2-M4X10-VO) | 3 | www.dold-mechatronik.de | 0.83193
DIN 912 screw with hexagon socket, stainless steel A2, M4X12 (VO) (DIN912-A2-M4X12-VO) | 5 | www.dold-mechatronik.de | 1.3866
DIN 912 screw with hexagon socket, stainless steel A2, M4X14 (VO) (DIN912-A2-M4X14-VO) | 8 | www.dold-mechatronik.de | 1.9328
DIN 912 screw with hexagon socket, stainless steel A2, M5X20 (VO) (DIN912-A2-M5X20-VO) | 3 | www.dold-mechatronik.de | 1.0084
DIN 912 screw with hexagon socket, stainless steel A2, M3x40 (TG) (DIN912-A2-M3X40-TG) | 1 | www.dold-mechatronik.de | 0.34
DIN 7380 Flachrundschraube mit Innensechskant, 10.9, verzinkt M4x10 (DIN7380-4x10) | 4 | www.dold-mechatronik.de | 1.0756
DIN 7380 Flachrundschraube mit Innensechskant, 10.9, verzinkt M5x8 (DIN7380-5x8) | 7 | www.dold-mechatronik.de | 2.1849
DIN 7380 Flachrundschraube mit Innensechskant, 10.9, verzinkt M5x10 (DIN7380-5x10) | 21 | www.dold-mechatronik.de | 4.0588
DIN 7380 Flachrundschraube mit Innensechskant, 10.9, verzinkt M5x12 (DIN7380-5x12) | 24 | www.dold-mechatronik.de | 4.8403
DIN 7380 Flachrundschraube mit Innensechskant, 10.9, verzinkt M5x14 (DIN7380-5x14) | 4 | www.dold-mechatronik.de | 1.6134
DIN 7380 Flachrundschraube mit Innensechskant, 10.9, verzinkt M5x20 (DIN7380-5x20) | 5 | www.dold-mechatronik.de | 1.8908
DIN 934 Hexagon nut, .8, galvanized M3x0,5 (DIN934-M3) | 11 | www.dold-mechatronik.de | 0.92437
DIN 934 Hexagon nut, .8, galvanized M4x0.7 (DIN934-M4) | 8 | www.dold-mechatronik.de | 0.84034
DIN 985 Hex lock nut with non-metallic clamping member, M3x0.5 (DIN985-M3) | 2 | www.dold-mechatronik.de | 0.22
Sliding block M5 with web I-type groove 5 (61333-1) | 50 | www.dold-mechatronik.de | 13.8655
Sliding block M4 with web I-type groove 5 (61326-1) | 2 | www.dold-mechatronik.de | 1.0924
Sliding block M3 with web I-type groove 5 (61319-1) | 23 | www.dold-mechatronik.de | 9.2773
DIN 7991 countersunk allen, 8.8, galvanized M3x10 (DIN7991-3x10) | 4 | www.dold-mechatronik.de | 1.0756
Other screws (not available at DOLD Mechatronik)
Screw M2.5x10, DIN 912, stainless steel (for Raspberry Pi and HQ Camera) | 8 | local workshop/rc-schrauben.de | 2
M3 Pan Head Machine Screw Phillips Drive Nylon (Digikey No. 732-13706-ND) | 1 | Digikey/local workshop | 0.25
Screw M2x10 DIN 912, stain less steel (Neopixel LED sticks and Lee 3-way valve) | 8 | local workshop/ebay/rc-schrauben.de | 4
Screw M2x25 DIN 912, stain less steel | 2 | local workshop/rc-schrauben.de | 2
Parts for movements
Pololu Stepper Motor Nema 14 Bipolar 200 Steps/Rev 35x36mm 2.7V 1A/Phase (Pololu No. 1209) | 2 | www.pololu.com, www.exp-tech.de/en | 50.82
Stepper motor driver Stepsticks A4988, black edition (Pololu No. 2981) | 5 | www.pololu.com, www.exp-tech.de/en | 78
Mechanical endstop boards kit, 39 x 15 mm, 2 needed (pack of 6) | 1 | Amazon | 7
Optical endstop boards, 32 x 10 mm, 2 needed (pack of 5) | 1 | Amazon | 7
Stepper motor Nema 17 with integrated lead screw (Tr8x8, 300 mm), MK3 motor Z-axis Right | 1 | www.prusa3D.com | 32.68
Trapezoidal leadscrew nut - TR 8x8, POM, Prusa Trapezoid nut (i3, MK4) | 1 | www.prusa3D.com | 5.86
Linear stepper motor ACT 16HSL3404 (new ACT product number: 39BYGHL) | 2 | act-motor.com, Amazon | 28.8739
Round magnets neodymium, Ø 8 mm x 3 mm | 20 | www.supermagnete.de, Amazon | 6
Cubic magnets neodymium, 5 mm | 20 | www.supermagnete.de, Amazon | 3.8
Timing pulley T16-2GT | 2 | www.prusa3D.com | 6.16
Timing belt 2GT, MK3 X-axis, 850 mm | 1 | www.prusa3D.com | 5.8
Timing belt 2GT, MINI X-axis, 560 mm | 1 | www.prusa3D.com | 5.8
Multifunctional plateholder
Aluminum plate, 100 x 95 x 2 mm, part ID 269103 | 1 | xometry.eu/en/ | 5.9
TRU COMPONENTS Polymide heating foil, 12 V/DC, 48 W, 60 mm x 60 mm | 1 | conrad.de | 7.1345
NTC Thermistor, 100 kΩ, DigiKey No. 495-2143-ND | 1 | Digikey | 3
Glass plates 200 mm x 200 mm x 1 mm | 1 | ebay (glasludwig), used HPTLC plate | 4.2
60-mm bubble spirit level | 1 | Amazon | 7.13
Backlight plateholder
Inspired LED 12V-MB-CW-12M, cool white, cut tape, DigiKey No. 1647-12V-MB-CW-12MCT-ND | 8 | Digikey | 2.56
Plexiglas Satinice CLEAR 0D010 DF, 97 mm x 97 mm x 3 mm | 1 | www.plexiglas-shop.com | 10.3
Plexiglas LED CLEAR 0E010 SM for edge lighting, 97 mm x 97 mm x 4 mm | 1 | www.plexiglas-shop.com | 10.3
Panels - Alupanel aluminum brushed 3 mm
10.2 cm x 21.0 cm (sides front), upload dxf file | 2 | www.kunststoffplattenonline.de | 10
14.8 cm x 21.0 cm (sides back), upload dxf file | 2 | www.kunststoffplattenonline.de | 10
21.5 cm x 19.0 cm (back), upload dxf file | 1 | www.kunststoffplattenonline.de | 5.41
10.2 cm x 21.5 cm (top front), upload dxf file | 1 | www.kunststoffplattenonline.de | 5
21.4 cm x 18.9 cm (front), upload dxf file | 1 | www.kunststoffplattenonline.de | 5.1
24.9 cm x 30.3 cm (bottom plate), upload dxf file | 1 | www.kunststoffplattenonline.de | 11.76
Raspberry Pi
Raspberry Pi 4 Model B, 4 GB SDRAM | 1 | www.rasppishop.de | 56.2185
SanDisk Ultra A1 microSD 64GB | 1 | www.rasppishop.de | 9.8
Raspberry Pi heat sink kit, 4 pieces | 1 | www.rasppishop.de | 3.1
Raspberry Pi HDMI cable, 2 m | 1 | www.rasppishop.de | 8.5
Raspberry Pi 12 MP HQ Camera | 1 | www.rasppishop.de | 53.12
Wide Angle Lens for Raspberry Pi HQ Camera | 1 | www.rasppishop.de | 25
Raspberry Pi Camera Module 3 (optional alternative to HQ camera), 24.40 € | 1 | www.rasppishop.de
Camera cable 500 mm | 1 | www.rasppishop.de | 2.9328
UPERFECT Portable Monitor, 15.6 Inch, 5 V | 1 | Amazon | 126.042
USB-A connector to USB-C connector, 1.5m (power for monitor) | 1 | reichelt.de | 2.807
Wireless keyboard and mouse, Logitech MK220 | 1 | Amazon | 21.46
Power supply
Power supply, GST160A12-R7B, 12 V, 160 W, 110 V/230 V universal input | 1 | www.meanwell-web.com | 49.9
Power Cord Black CEE 7/7 To IEC 320-C13, 18 AWG (0.8 mm2), Digikey No. 993-1038-ND 2) | 1 | Digikey | 5.49
Cables
Premium Jumper Wires, 30 cm, black, pack of 10, Pololu item #: 1840 | 2 | www.pololu.com, www.exp-tech.de/en | 6
Premium Jumper Wires, 30 cm, blue, pack of 10, Pololu item #: 1846 | 1 | www.pololu.com, www.exp-tech.de/en | 3
Premium Jumper Wires, 30 cm, red, pack of 10, Pololu item #: 1842 | 1 | www.pololu.com, www.exp-tech.de/en | 3
Premium Jumper Wires, 30 cm, green, pack of 10, Pololu item #: 1845 | 1 | www.pololu.com, www.exp-tech.de/en | 3
Crimp Connector Housing: 1x4-Pin 10-Pack | 1 | www.pololu.com, www.exp-tech.de/en | 1.59
Crimp Connector Housing: 1x3-Pin 25-Pack | 1 | www.pololu.com, www.exp-tech.de/en | 2.07
Crimp Connector Housing: 1x1-Pin 25-Pack | 1 | www.pololu.com, www.exp-tech.de/en | 1.59
Shrink tube, ID 2 mm, 3 feet | 1 | Digikey | 2.43
Microfluidics
Force Sensor FX29K0-100A-0010-L | 1 | Digikey | 40.5
LFR Series solenoid valve 3-way, FFKM, Manifold Mount ( LFRA1252370D) | 1 | www.theleeco.com/products/ | 224.0805
062 Female MINSTAC – Female Luer Lock Adapter, PEEK ( TMDA3203950Z) | 1 | www.theleeco.com/products/ | 18.9525
125/156 Female MINSTAC – Male Luer Lock Adapter, PEEK (TMRA9503950Z) | 1 | www.theleeco.com/products/ | 22.365
Safety Screen - 062 MINSTAC, 12 µm, PEEK ( INMX0350000A) | 4 | www.theleeco.com/products/ | 190.512
Torque Wrench ( TTTA3201243A) | 1 | www.theleeco.com/products/ | 29.4315
VHS Series solenoid valve, FFKM (INKX0514100A) | 1 | www.theleeco.com/products/ | 417.7845
Micropump LPL2, 50 µL, 12V, EPDM ( LPLA1251650L) | 1 | www.theleeco.com/products/ | 167.412
062 Female MINSTAC – Female Luer Lock Adapter, PEEK ( TMRA3202950Z) | 2 | www.theleeco.com/products/ | 37.905
062 Male MINSTAC – Female Luer Lock Adapter, PEEK ( TMRA3201950Z) | 1 | www.theleeco.com/products/ | 18.9525
062 MINSTAC nozzle with jeweled orifice, orifice ID 0.005" (0.13 mm) (INZA4650935K) | 1 | www.theleeco.com/products/ | 48.1635
062 MINSTAC nozzle with jeweled orifice, orifice ID 0.003" (0.08 mm) (INZA4630912T) | 1 | www.theleeco.com/products/ | 48.1635
062 MINSTAC airless atomizing nozzle (IAZA1200167K) | 1 | www.theleeco.com/products/ | 60.144
PTFE tubing, 2 fittings 062 MINSTAC, ID 0.8 mm, L 20 cm (TUTC3216920L) | 1 | www.theleeco.com/products/ | 34.503
PTFE tubing, 2 fittings 062 MINSTAC, ID 0.8 mm, L 15 cm (TUTC3216915L) | 3 | www.theleeco.com/products/ | 102.5955
Hotend PTFE tube, MK2/MK3 | 1 | www.prusa3D.com | 1.08
LED illumination
PCB for UV 265 nm LEDs (see Eagle files and parts list for self-build) 3) | 2 | ibr-leiterplatten.de | 6.4
PCB for UV 365 nm LEDs (see Eagle files and parts list for self-build) 3) | 2 | ibr-leiterplatten.de | 8
UV 265 nm LED PKC-H10-F35, 18 mW, SMD3535 | 4 | www.lasercomponents.com/de-en/ | 13.28
UV 365 nm LED, Inolux IN-C33CTNU2, SMD3535 | 4 | Digikey | 25.44
Neopixel Stick - 8 x 5050 RGBW LEDs - Cool White (DigiKey No. 1528-1595-ND) | 2 | DigiKey | 15.04
Connector Header Through Hole 4 position 0.100" (2.54mm) (Neopixel) | 3 | Digikey | 0.51
Hebo UV-filter glass HU02, 50x25x3 mm | 2 | hebo-glass.com | 23.5294
Inspired LED 12V-MB-CW-12M, cool white, cut tape (case light) (DigiKey No. 1647-12V-MB-CW-12MCT-ND) | 8 | Digikey | 2.56
Electronics
Electronic mainboard (see Eagle files and parts list for self-build) | 1 | Elektronic workshop, University of Giessen 4) | 672.27
2-Postion terminal block plug, pitch 0,138" (3,50mm), Plug Wire Entry 180° (Digikey No. WM7732-ND) 5) | 4 | Digikey | 6.72
5-Position terminal block plug, pitch 0.138" (3.50mm), Plug Wire Entry 180° (Digikey No. WM7735-ND) 5) | 1 | Digikey | 2.06
6-Position terminal block plug, 0.138" (3.50mm), Plug Wire Entry 180° (Digikey No. WM7736-ND) 5) | 1 | Digikey | 2.26
7-Position terminal block plug, pitch 0.138 (3.50mm), Plug Wire Entry 180° (Digikey No. WM7737-ND) 5) | 1 | Digikey | 2.79
6-Position terminal block plug, 3.81 mm, Plug Wire Entry 270° (Digikey No. WM25789-ND) 5) | 1 | Digikey | 2.26
4-Position terminal block plug, pitch 0.138" (5.08 mm), plug wire entry 180°, Digikey No. WM7953-ND 5) | 1 | Digikey | 2.93
DHT22 AM2302 Temperature and humidity sensor | 1 | az-delivery.de/en | 6.7143
Receptacle, 5 poles female to 22 AWG leads 50 cm (Digikey No. WM21514-ND) | 1 | Digikey | 5.98
5-Pin plug male to 22 AWG wire leads 50 cm (Digikey No. WM21514-ND) | 2 | Digikey | 20.1
40-Position cable assembly rectangular socket to socket 0.167' (50.80mm) (Digikey No. IDSD-20-D-02.00-T-ND) 5) | 1 | Digikey | 14.94
14 Position Cable Assembly Rectangular Socket to Socket 0.417' (127.00mm) (Digikey No. IDSD-07-D-05.00-G-ND) 5) | 1 | Digikey | 9.74
3D Filaments
PLA white, sample 50 g | 2 | filamentworld.de | 5.8824
PLA black matte, 1 kg | 1 | filamentworld.de | 29.33
PC carbon blend, black, 800 g | 1 | www.prusa3d.com | 50.41
Handtmann – Lauramid, Polyamide PA12, 50 g sample | 1 | filamentworld.de | 9.1597
3330.4756
Mini-Shaker
Modelcraft gear motor RB350050-0A101R, 12 V 1:50, 120 rpm (Conrad No. 227552) | 1 | conrad.de | 17.6387
TRU COMPONENTS 1587515 rocker switch TC-R13-66A-02 (Conrad No. 857475210) | 1 | conrad.de | 0.39
DC Chassis Mount Socket, 5.5/2.5 mm (Digikey No. CP-6-ND) | 1 | Digikey | 1.67
Eurostyle terminal strip with screws, 12 positions, 0.5 - 1.5 mm2 (Conrad No. 1563996) | 1 | conrad.de / local workshop | 2.09
Screw M3x8, DIN 7984 | 15 | dold-mechatronik.de/ local workshop | 2.65
Screw M3x10, DIN 7984 | 14 | dold-mechatronik.de / local workshop | 2.47
Screw M3x16, DIN 7984 | 4 | dold-mechatronik.de / local workshop | 1.11
Nut M3 | 6 | dold-mechatronik.de / local workshop | 0.48
Ball bearings 8 mm x 22 mm x 7 mm, pack of 10 (Amazon No. B07XHTFJ3V), 5 needed | 1 | amazon.de | 6.55
Extension spring, 50 mm => 200 mm (Sodemann No. E02400182000S) | 2 | sodemann-federn.de | 11.4
Cable Assembly 2.5mm ID, 5.5mm OD Plug to Plug Flat 6.0' (1.83m) (Digikey No. 10-03923-ND) 6) | 1 | Digikey | 5.46
3M Self-adhesive device foot (Ø x H) 8 mm x 2.8 mm, Conrad No. 525731 | 4 | conrad.de | 0.72
Heatable hood
Thermo TECH polyester heating foil self-adhesive 12 V/DC, 12 V/AC 15 W, Ø 90 mm (Conrad No. 189177 ) | 1 | www.conrad.de | 15.1176
DEBO XH-W1209 T Developer Boards - Thermostat, 12 V, digital, W1209 | 1 | www.reichelt.de | 3.1513
ONPIRA Power distributor, 8 A, 2 x 6 positions (Amazon ASIN B077BQW5Q5) | 1 | amazon.de | 3.2521
SUN EE40101S1-1 Axial fan, 40x40x10mm, 12V, 13,9m³/h, 28,2dBA (Reichelt No. SUN EE40101S1-1) | 1 | www.reichelt.de | 1.5966
Receptacle, 5 poles female to 22 AWG leads 50 cm (Digikey No. WM21514-ND) | 1 | Digikey | 5.98
5-Pin plug male to 22 AWG wire leads 50 cm (Digikey No. 839-10-04495-ND) | 1 | Digikey | 10.05
Eurostyle terminal strip with screws, 12 positions, 0.5 - 1.5 mm2 | 1 | conrad.de / local workshop | 2.09
93.8663
Mini-Incubator
Aluminum plates, 110 x 110 x 2 mm, part ID 269104 | 2 | xometry.eu/en/ | 4.72
Thermo TECH polyester heating foil self-adhesive 12 V/DC, 12 V/AC 15 W, Ø 90 mm (Conrad No. 189177 ) | 2 | www.conrad.de | 30.2353
NTC Thermistor, 100 kΩ (DigiKey No. 495-2143-ND) | 1 | Digikey | 2.61
DHT22 AM2302 Temperature and humidity sensor | 1 | az-delivery.de/en | 6.7143
7 Leiter Mehrleiter Kabel Schwarz 22 AWG 3,28' (1,00 m) (DigiKey No. T1422-1-ND) | 1 | Digikey | 4.71
6-Position terminal block plug, pitch 0.138" (3.50 mm), Plug Wire Entry 180° (DigiKey No. WM7736-ND) | 1 | Digikey | 2.39
JST XH crimp socket (DigiKey No. 455-1135-1-ND) | 3 | Digikey | 0.27
JST XHP-4 female socket (DigiKey No. 455-2268-ND) | 1 | Digikey | 0.1
Through connector max. 4 mm², 2 conductors (Reichelt No. WAGO 221-2411) | 2 | www.reichelt.de | 0.94
52.6896
Nebulizer
Glass plate, 200 mm x 100 mm x 1 mm | 1 | used HPTLC plate
Ultrasonic Piezo Atomizer 16 mm 108 kHz 5 µm pore size | 50 | piezoelements.com 7,8) | 130
Ultrasonic Piezo Atomizer 16 mm 108 kHz 11 µm pore size | 50 | piezoelements.com 7,8,9) | 130
JST PH 2 Pin cable male header 2 (DigiKey-No. 1528-2617-ND) | 1 | DigiKey | 0.69
260.69
|  | In total | 3737.7215
Optional solar power system (exemplarily)
Solar system 200 Wp incl. battery, connection cable, charge controller, and inverter, Conrad No. 2749920 | 1 | www.conrad.de | 419.33
Consumables
B. Braun Injekt disposable syringes, 2 mL, Luer Lock Centric, pack of 100 (Art. No. EP95.1) | 1 | carlroth.com/com/en | 26.65
B. Braun Injekt disposable syringes, 5 mL, Luer Lock Centric, pack of 100 (Art. No. EP96.1) | 1 | carlroth.com/com/en | 31.7
B. Braun Injekt disposable syringes, 10 mL, Luer Lock Centric, pack of 100 (Art. No. EP97.1) | 1 | carlroth.com/com/en | 45.15
Luer stopper for Luer Lock male, pack of 10, Carl Roth Art. No. CT70.1 | 1 | carlroth.com/com/en | 6.8
Brand reaction vials, 2 mL, 0.3 mm thin cap, Carl roth product CK06.1, pack of 500 | 1 | carlroth.com/com/en | 15.6
Sterican syringe needles 18Gx2", 1,2x50 mm, pack of 100 | 1 | online pharmacy or laboratory shop | 5.89
Rolled rim glass (30 mm x 50 mm, 25 mL) as rinsing and waste vials | 2 | destillatio.eu/en | 0.98
1) See Dold basket
2) Adapter 1 (here CEE 7/7) depends on the power socket in a country.
3) Eagle files and partlist are freely available at https//:github.com/OfficeChromatography/2LabsToGo-Eco-Hardware.The fully equipped (incl. the LEDs) and tested LED boards (about 38 Euro) can also be ordered from the Electronics Workshop (Dept. of Physics, Justus Liebig University Giessen, Heinrich-Buff-Ring 20, 35392 Gießen, Germany) by email to thomas.nimmerfroh@exp1.physik.uni-giessen.de.
4) Eagle files and partlist are freely available at https//:github.com/OfficeChromatography/2LabsToGo-Eco-Hardware.The fully equipped and tested board can also be ordered from the Electronics Workshop (Dept. of Physics, Justus Liebig University Giessen, Heinrich-Buff-Ring 20, 35392 Gießen, Germany) by email to thomas.nimmerfroh@exp1.physik.uni-giessen.de.
5) These parts will be inluded, if the mainboard was ordered from the Electronics Workshop (Justus Liebig University) .
6) If the mini-shaker is to be operated as a stand-alone device, a separate power supply is needed.
Power supply, 12 V, 5 A, plug 5.5/2.5 mm (Amazon No. B0C7Z639BD) | 1 | amazon.de | 12.17
7) Minimum order quantity of 50 per unit, custom-made products, 20 cm cables
Ultrasonic Piezo Atomizer 16 mm 108 kHz 5 µm pore size also are avaibale at Amazon (ASIN B0DFGH691W),
pack of 10, but need a cable extension of about 15 cm | 1 | amazon.de | 10.08
8) Ask piezoelements, if the atomizers are available as 'conventional products', to order a lower amount.
9) Ultrasonic Piezo Atomizer 11 µm pore size are needed to spray suspensions of yeast cells